## Slide 1: Semantic Interoperation of Lab\Path\Genomic Results: LOINC-on-OWL
Jim Campbell MD
Nebraska Medicine
University of Nebraska Medical Center
Omaha, NE

## Slide 2: Outline
Issues with interoperation of lab results
Proposal for universal interoperation of laboratory, pathology and genomic results
LOINC-on-OWL as deliverable for US integrated ontologies
Accomplishments and work remaining
Demonstration

## Slide 3: Interoperation research challenges for LOINC
Organize metadata for LOINC terms by clinical intent and utility to allow navigation and browsing
Organize metadata to support retrieval of classes of observation results by test type and purpose
Construct valuesets of LOINC terms for deployment in queries of computable phenotypes, analytics and research outcomes across network datamarts
Employ defined sets of LOINC terms in EHR decision rules for clinical care and research population management

## Slide 4: LHS: LOINC codes are not enough for interoperation
LOINC term model is not widely understood by clinical, research and public health communities
Being designed for laboratory test results, term model is underspecified for the current scope of LOINC
LOINC terms were classified with DL in 2012[1]; SNOMED CT enhancement required for effective build; modest duplications in terms and parts were noted; concluded overall well maintained
LOINC term mapping is subject to high intra-observer variance; Legacy code mapping with RELMA is confounded by magnitude of LOINC scope; there are multiple ‘correct’ maps requiring expert editing of valuesets for interoperation and valuesets for query
LOINC is large but the domain of use in US for lab&clinical results is small (3K/78K)
Decision support and analytics are not part of design but are necessary to success of LHS
[1]Adamusiak T, Bodenreider O. Quality assurance in LOINC using Description Logic. AMIA Annu Symp Proc. 2012; 2012: 1099-1108.
Notes: Valueset

## Slide 5: Results Standardization at Nebraska /Greater Plains PCORnet
LOINC coding project 2011 employed 3M for first pass followed by review and editing by JRC, WSC for 100% compliance
Addition of synoptic reporting / pathology / genomics standardization beginning 2016
Implemented LOINC-SNOMED CT harmonization technical preview developing full ontology of 23,000+ concepts
Expansion to include microbiology 2019 led to review of LOINC coding from Sunquest HL7 feed and identification of errors in that mapping

## Slide 6: What Nebraska Medicine has done with LOINC and OWL
Compile statistical analysis of observation results across GPC network; hampered by variability in coding of clinical observation results
Developed OWL class axioms using harmonized concept model of lab and clinical observation results developed by SNOMED and LOINC for frequently used LOINC terms
Experimenting with OWL panels and groupers for valueset publication (LOINC groups)
Classified with SNOMED CT to support full ontological definition across defining SNOMED domains per comments[1]; employ SNOMED CT logic in groupr definitions
Currently building software to extract LOINC Observables subset of OWL axioms and produce classified (inferred) ontology enhanced with SNOMED CT
2018: Propose to support US LOINC OWL ontology publication to provide metadata browsing, extensional valueset definitions and query support for research, clinical decision making and analytics
Hemoglobin A1c/Hemoglobin.total in Blood by unspecified technique (LOINC:4548-4)
and ('Role group (attribute)' some ('Component (attribute)' some 'Glycosylated hemoglobin (substance)'))
and ('Role group (attribute)' some ('Property (attribute)' some 'Mass fraction (property) (qualifier value)'))
and ('Role group (attribute)' some ('Scale type (attribute)' some 'Quantitative (qualifier value)'))
and ('Role group (attribute)' some ('Time aspect (attribute)' some 'Single point in time (qualifier value)'))
and ('Role group (attribute)' some ('Inheres in (attribute)' some 'Blood (substance)'))
and ('Role group (attribute)' some ('Relative to (attribute)' some 'Hemoglobin (substance)'))
and ('Role group (attribute)' some ('Direct site (attribute)' some 'Blood specimen (specimen)'))

## Slide 7: April Proposal to SNOMED for support of Observables ontology

## Slide 8: Proposal for Universal Interoperation of Results
Prepare pragmatic inventory of observation results codes across world (LOINC, NPU, national schemes)
Apply harmonized ontological model to define in OWL all frequently occurring concepts for each system
Classify and publish FREE inferred ontology view for each (national) coding scheme including groupers to serve national use cases
SNOMED International to publish free for use worldwide concept codes and term set employed in defining all OWL axioms

## Slide 9: Proposal for Universal Interoperation of Results
Per SNOMED International leadership:
  2 or more members must support project for General Assembly consideration (currently have verbal commitment from UK, Australia and Sweden(preparing letters), interest from Canada and Norway)
  Assure that this is in compliance with LOINC-SNOMED agreement
Nebraska requests support of US/NLM for the project

## Slide 10: Demonstration

## Slide 11: Progress
Obtain letter of support from NLM with agreement of LOINC committee(0%)
Compile pragmatic statistical analysis of LOINC classtype 1&2 terms conceptually deployed in US EHRs (95% completed)
Complete concept definition of the LOINC terms subset employing harmonized concept model(90%)
Model and deploy the inferred concept subset supplemented by OWL grouper concepts and panel codes which classify into useful clinical and laboratory results ontology for US(75%)
Publish six monthly on LOINC site
Work with LOINC, NLM and ONC to publish extensional valuesets of LOINC concepts for recurring US use cases
Next: Updating LOINC lab definitions with RXNORM drug coding where relevant

## Slide 12: Handouts
This presentation (Semantic_Interoperation_of_Lab.pptx)
Proposal to SNOMED International (Interoperation_of_observation_results.pdf)
Lab Description Logic queries (definitions)
Email Jim Campbell for 422MB copy of OWL file

## Slide 13
Questions?
Jim Campbell
campbell@unmc.edu